## Sheet1
OCHSNER HEALTH/ SOFT HEMATOLOGY RULES 12.2022 sby
Soft Rule ID | Rule Type | Description and Test Code(s) applied to: | Sex/Age when applicable
MDIF1 | Reflex test ordering | If the WBC <2.0 on a CBCWD: system adds MDIF (manual diff) once per 7 days. This reflex rule does not apply to CBC, CBCON, WBC only orders. | n/a
MDIF2 | Reflex test ordering | If the WBC >50.0 on a CBCWD: system adds MDIF (manual diff) once per 7 days. | n/a
MDIF3 | Reflex test ordering | If Abs Lymphs >8.0: system adds MDIF (manual diff) only once per 24 hrs. | n/a
MDIF4 | Reflex test ordering | If IG%>=5.0, VRDIF=PRESENT, WBCIN=PRESENT, WBCLN=PRESENT: | n/a
reflex MDIF (manual diff) every time
MDIF5 | Reflex test ordering | If any automated diff test = NO READ then MDIF (manual diff) is reflexed every time. | n/a
MDIF6 | Reflex test ordering | For TGMC site if any automated diff test = Review then reflex MDIF (manual diff) every time. | n/a
SYRDW | Reflex test ordering | If the RDW > 22.0 on CBCWD: system adds a MORPO (RBC morphology) once per 3 mths unless there is already a MDIF or SCAN reflexed on order. | n/a
MORPH | Reflex test ordering | If any of these instrument flags=PRESENT on a CBCWD: system adds MORPO (RBC morphology). | n/a
DIRBC = Present
RBCDS = Present
FE = Present
HGBD = Present
FRGC = Present
RBCIN= Present
MORP1 | Reflex test ordering | This only applies to CBCWD orders | n/a
If MCV<60 or MCV >130 on CBCWD: system adds a MORPO (RBC morphology) once every 3 mths.
PLT1 | Reflex test ordering | If the PLT <40 OR any time there is a delta flg on plt: system adds a PLTRO (platelet smear review) once per 7 days to CBCWD, CBC, CBCON, PLTCO. | n/a
PLT2 | Reflex test ordering | If the PLT > 999: system adds a PLTRO (platelet smear review)once per 7 days to CBCWD, CBC, CBCON, PLTCO, RCBCD or RCBC unless there is already a MDIFO, SCAN or MORPO reflexed on the order.
n/a
SCANA | Reflex test ordering | If any of the following criteria is met then a SCAN test will be reflexed by system. | n/a
Abs Segs <1.0 or >20.0
Abs Mono >3.0 on <12 yrs old
Abs Mono >2.0 on >12 yrs old
Abs Eos >2.0
Abs Basos >0.5
SCAN1 | Reflex test ordering | A MDIFO is the reflexed test picked by tech based on smear review. | n/a
SCAN2 | Reflex test ordering | A MORPO is the reflexed test picked by tech based on smear review. | n/a
SCAN3 | Reflex test ordering | A PLTRO is the reflexed test picked by tech based on smear review. | n/a
SCANC | Reflex test ordering based on Coulter suspect flags | If any of the following Coulter instrument flags=PRESENT a SCAN test will be reflexed by system. | n/a
LYBLT=PRESENT
NRBCS=PRESENT
NEBLT=PRESENT
NRFLG=PRESENT
RBCAG=PRESENT
GTPLT=PRESENT
CSCKL=PRESENT
MOBLT=PRESENT
IMNE2=PRESENT
VRLYM=PRESENT
BLFLG=PRESENT
PLTCM=PRESENT
CSCKL=PRESENT
SCANS | Reflex test ordering based on Sysmex suspect flags | If any of the following Sysmex instrument flags=PRESENT then a SCAN test will be reflexed by system. | n/a
PLTDS=PRESENT
BLFLG=PRESENT
ATLYM=PRESENT
RBCAG=PRESENT
IGFLG=PRESENT
TURB=PRESENT
RETAS=PRESENT
ABLYM=PRESENT
IGPRE=PRESENT
NRBCS=PRESENT
LSFLG=PRESENT
NRFLG=PRESENT
PLTCM=PRESENT
RBCLR=PRESENT
PLTAS=PRESENT
NRBCP=PRESENT
ABLYB=PRESENT
WBCAS=PRESENT